Dilution Problems

1) You have a bottle of 85% isopropyl alcohol.  How much alcohol and water

need to be mixed to prepare 100 mL of 68% alcohol?

2) If you have a stock solution of 3.0 M NaI, how would you prepare 200. mL of

a working solution of 5.0 µM NaI?  A stock solution is the concentrated solution

which is being diluted and a working solution is the resulting diluted solution.

3) Starting with 10. mL of 5.0 M HNO3, how would you prepare 20. mL of

1.0 x 10-6 M HNO3?

4) The concentration of a stock solution of a dye is 0.25 mol/dm3.  In order to use

this dye as a stain, the concentration in the dilute solution must fall in the

range of 1.0 x 10-4 mol/dm3 – 4.0 x 10-4 mol/dm3.  How would you prepare

5.0 cm3 of this dye using a serial dilution?

Solutions

1) You have a bottle of 85% isopropyl alcohol.  How much alcohol and water

need to be mixed to prepare 100 mL of 68% alcohol?

[C3H8O]c = 0.85		[C3H8O]d = 0.68

Vc = ?                              Vd = 100 mL

DF = [C3H8O]d/[C3H8O]c = 0.68 M/0.85 M = 0.80

DF = Vc/Vd

Vc = 0.80 × 100. mL = 80. mL × 1.0 µL/10-3 mL = 8.0 × 104 µL

Now the question becomes, a simple or serial dilution?  You can not

accurately measure volumes smaller than 1.0 µL (10-3 mL, 10-6 L), so when

the need arises you must use a serial dilution.

Vc = 8.0 × 104 µL which rules out a serial dilution.

After measuring out 80. mL C3H8O, you would add 20. mL of distilled water

and stir thoroughly.  You would need distilled water to ensure a

two-component system.

2) If you have a stock solution of 3.0 M NaI, how would you prepare 200. mL of

a working solution of 5.0 µM NaI?

[NaI]c = 3.0 M		[NaI]d = 5.0 µM

Vc = ?                              Vd = 200. mL

DF = [NaI]d/[NaI]c = (5.0 x 10-6 M)/3.0 M = 1.7 x 10-6

DF = Vc/Vd

Vc = 1.7 × 10-6 mL * 200. mL * 103 µL/1 mL = 0.34 µL

A simple dilution is ruled out.

When doing serial dilution problems, it is always best to keep simple what is

simple.  Do not be afraid of making paper and pencil misteaks.  For example,

what is a reasonable approach to dilute a solution by a factor of 1.7 x 10-6?

Rewrite 1.7 x 10-6 as:

1.7/106 = 1.7/101 × 1/103 × 1/102

Does the order of terms matter?  Algebraically no, but this order would be

very convenient to carry out the dilution.

Step 1 of the titration would be to thoroughly mix 1.7 mL of NaI with 8.3 mL of      distilled water.  The total dilution so far is 1.7/10 (D1).

Step 2 of the titration would be to thoroughly mix 1.0 mL of D1 with 999.0 mL

of distilled water.  The total dilution so far is 0.17/1000 (D2).

Step 3 of the titration would be to thoroughly mix 2.0 mL of D2 with 198.0 mL

of distilled water.  The final dilution is 1.7 x 10-4/100 = 1.7 x 10-6 (D3).

DF = D1 × D2 × D3 = 1.7/10 × 0.17/1000 × 1.7 x 10-4/100 = 1.7 x 10-6

When calculating for a serial dilution it always best to start with the coefficient

when it is not equal to 1.  Because the problem stated that a final volume of

200. mL was required, it is most convenient to have that be the final step of

the dilution.

3) Starting with 10. mL of 5.0 M HNO3, how would you prepare 20. mL of

1.0 x 10-6 M HNO3?

[HNO3]c = 5.0 M		 [HNO3]d = 1.0 x 10-6 M

Vc = 10. mL                     Vd = 20. mL

DF = [HNO3]d/[ HNO3]c = (1.0 x 10-6 M)/5.0 M = 2.0 x 10-7

DF = Vc/Vd

Vc = 2.0 × 10-7 * 20. mL * 103 µL/1 mL = 4.0 x 10-3 µL

A simple dilution is ruled out.

Step 1 of the titration would be to thoroughly mix 2.0 mL of HNO3 with 8.0 mL

of distilled water.  The total dilution so far is 2.0/10 (D1).

Step 2 of the titration would be to thoroughly mix 1.0 mL of D1 with 99999 mL

of distilled water.  The total dilution so far is 2.0/10 * 1/105 (D2).

Step 3 of the titration would be to thoroughly mix 2.0 mL of D2 with 18.0 mL

of distilled water.  The final dilution is 2.0/10 * 1/105 * 2/20 (D3).

DF = D1 × D2 × D3 = 2.0/10 * 1/105 * 2/20 = 2.0 x 10-7

4) The concentration of a stock solution of a dye is 0.25 mol/dm3.  In order to use

this dye as a stain, the concentration in the dilute solution must fall in the

range of 1.0 x 10-4 mol/dm3 – 4.0 x 10-4 mol/dm3.  How would you prepare

5.0 cm3 of this dye using a serial dilution?

[ ]c = 0.25 M		  [ ]d = 1.0 x 10-4 mol/dm3 – 4.0 x 10-4 mol/dm3

Vc =                                  Vd = 5.0 cm3

DF = [ ]d/[ ]c = (2.5 x 10-4 mol/dm3)/0.25 mol/dm3 = 1.0 x 10-3

DF = Vc/Vd

Vc = 1.0 × 10-3 * 5.0 mL * 103 µL/1 mL = 5.0 µL

A serial dilution could have been ruled out but the problem specifically asked

for a serial dilution.

Step 1 of the titration would be to thoroughly mix 0.50 mL of dye with 4.5 mL

of distilled water.  The total dilution so far is 0.50/5.0 (D1).

Step 2 of the titration would be to thoroughly mix 0.50 mL of D1 with 4.5 mL

of distilled water.  The total dilution so far is 0.50/5.0 × 0.50/5.0 (D2).

Step 3 of the titration would be to thoroughly mix 0.50 mL of D2 with 4.5 mL

of distilled water.  The final dilution is 0.50/5.0 × 0.50/5.0 × 0.50/5.0 (D3).

DF = D1 × D2 × D3 = 0.50/5.0 × 0.50/5.0 × 0.50/5.0 = 1.0 x 10-3

The reason for choosing 5.0 mL for the total volume for each dilution is that

question specified 5.0 mL.  In most cases, if you had prepared 10. mL which

would leave 5.0 mL in excess, it would be, who cares?  But if the stock

solution for the dye was very expensive, you would also want to be           economical.